# POE
## Manufacturers
https://silvertel.com/poe-power-over-ethernet-html/	Silvertel	POE modules
https://www.st.com/en/power-management/power-over-ethernet-ics/products.html	ST	POE ic's
https://www.kinet-ic.com/power-over-ethernet/poe-pd-controllers/	Kinetic (Akros Silicon)	POE ic's
https://www.silan.com.cn/en/index.php/product/index/120.html	Silan	POE ic's + many discretes
http://www.icplus.com.tw/products?locale=en	ICPLUS	POE PSE, Eth PHY, Eth SW
https://www.hasivo.com/ProductInfoCategory?categoryId=174243&PageInfoId=202204	Hasivo	POE PSE, Eth eq
https://www.onsemi.com/products/power-management/poe-powered-devices	Onsemi	POE PD
https://www.monolithicpower.com/en/products/power-management/power-over-ethernet/powered-device.html
https://www.globalspec.com/ds/4375/areaspec/compliance_approvals_ieee_802_3af

## Theory
https://www.newnets.ru/knowledge/19942/
2 pair POE	IEEE802.3af (IEEE802.3at Type1)	up to 13W
2 pair POE+	IEEE802.3at Type2	up to 30W
4 pair POE	IEEE802.3bt Type3	up to 60W
4 pair POE	IEEE802.3bt Type4	up to 100W

In Power over Ethernet systems, the power sourcing equipment (PSE) senses the Ethernet connection to detect if the powered device (PD) is plugged into the cable termination by applying a small voltage (2.7 V to 10 V) on the Ethernet cable and measures the equivalent resistance in at least two consecutive steps. During this phase, the PD must present a resistance between 23.75 kW and 26.25 kΩ.
Designers can set the current by changing the value of the external resistor according to the following table:
Table 7: Value of the external classification resistor for the different PD classes of power
Class	PD max. average power (W)	RCLS (Ω)
0	13	2k
1	3.84	150
2	6.49	80.6
3	13	51.1
4	25.5	35.6

## PSE - power sourcing equipment
https://svanheule.net/switches/software/poe_management
https://www.promelec.ru/fs/sources/87/c4/23/4f/aadba2afb62c992aec11755c.pdf	TI	TPS2384	ic	IEEE 802.3af
https://www.promelec.ru/fs/sources/33/34/f0/a0/1826c683f0397e2116244dbc.pdf	TI	TPS23861PWR	ic	IEEE 802.3at
https://www.promelec.ru/fs/sources/4a/d2/2c/12/49853a8c4e2fc0896ce9ecd4.pdf	Analog Devices	LTC4263IDEPBF	ic	IEEE 802.3af

## PD - powered device

https://www.skyworksinc.com/-/media/Skyworks/SL/documents/public/application-notes/an1130-si3404-06x-dg.pdf
https://www.st.com/en/power-management/pm8800.html	ST	PM8800 (NRND)	ic	IEEE 802.3af	cntrl + dcdc	~5$	https://sds.compel.ru/infosheet/ST/PM8800A
https://www.st.com/en/power-management/pm8803.html	ST	PM8803	ic	IEEE 802.3at	cntrl + dcdc
https://www.st.com/en/power-management/pm8804.html	ST	PM8804	ic		dcdc	~2$	https://sds.compel.ru/infosheet/ST/PM8804TR
https://www.st.com/en/power-management/pm8805.html	ST	PM8805	ic	IEEE 802.3bt	cntrl + dcdc	~15$	https://sds.compel.ru/infosheet/ST/PM8805TR
https://www.promelec.ru/fs/sources/83/5a/32/b8/4aa6318fe63f3c434997a44a.pdf	Onsemi	NCP1083DEG	ic	IEEE 802.3at	cntrl + dcdc
https://www.promelec.ru/fs/sources/99/73/28/c4/81554551ced07229887e94b9.pdf	Onsemi	NCP1081DEG	ic	IEEE 802.3at	cntrl + dcdc
https://www.promelec.ru/fs/sources/99/73/28/c4/81554551ced07229887e94b9.pdf	Onsemi	NCP1081DER2G	ic	IEEE 802.3at	cntrl + dcdc
		NCP1090-1092
https://www.promelec.ru/fs/sources/52/ae/5c/b2/34ac659b56d34dfd4922d7ae.pdf	TI	TPS2378	ic	IEEE 802.3at	cntrl + dcdc
https://www.promelec.ru/fs/sources/c2/e0/cb/cb/e2fbf73ad08819189ab1b9d1.pdf	TI	LM5071	ic	IEEE 802.3af	cntrl + dcdc
https://www.promelec.ru/fs/sources/09/d5/e8/fe/a2c6b7a2615d3e8b60dc487b.pdf	TI	TPS2375PW-1	ic	IEEE 802.3af	cntrl
https://www.promelec.ru/fs/sources/a2/6a/5d/af/13f4b6872bf0a775ce680d29.pdf	TI	TPS2375-77	ic	IEEE 802.3af	cntrl
https://www.promelec.ru/fs/sources/f0/74/71/ae/1e7b589d8cfe69839e0f7998.pdf	TI	TPS23750PWPR	ic	IEEE 802.3af	cntrl + dcdc
https://www.promelec.ru/fs/sources/f4/3e/4a/52/ecbe724dd066c62e7ff18afb.pdf	TI	LM5072MHX-80	ic	IEEE 802.3af	cntrl + dcdc
https://www.kinet-ic.com/uploads/web/KTA1136/KTA1136-04a.pdf	Kinetic	KTA1136	ic	IEEE 802.3af	cntrl + dcdc
https://www.kinet-ic.com/uploads/web/KTA1137A/KTA1137A-04b.pdf	Kinetic	KTA1137A	ic	IEEE 802.3at	cntrl + dcdc
	Maxim
	Analog Devices
	Microchip	PD70101PD70201
	Linear
	Infineon
	Microsemi
	MPS	MP8009AGV-PMP8003AMP8001DS-LF-ZMP8004MP8005
	Skyworks	SI3404SI3406
https://datasheet.lcsc.com/lcsc/2109021730_chipup-XS2100S_C2890398.pdf	CHIPUP	XS2100S	ic	IEEE 802.3at	cntrl	~0.4$	https://sds.compel.ru/infosheet/CHIPUP/XS2100S
	NXP	MCZ34670EG				~6$?
	Silan	SD4950SD4928SD4924SSD4952BSD4923E		afbtatafat